## Weekly Inspection
BWB Weekly Site Safety Inspection (Form SF-12, rev 4)
Project: |  | Date: |  | Inspector:
# | Category | Item | Y | N | N/A | Critical | Comments
1 | General | Site-specific safety plans on file for all subs on site
2 | General | Daily pre-task plans / AHAs completed and signed
3 | General | Emergency contact list and nearest hospital posted
4 | General | First aid kit and AED accessible
5 | Fall Protection | Fall protection in use at 6 ft and above |  |  |  | Y
6 | Fall Protection | Guardrails complete (top rail, mid rail, toe board)
7 | Fall Protection | Floor holes covered, secured and marked |  |  |  | y
8 | Fall Protection | Harnesses and lanyards inspected, no damage
9 | Scaffolds | Scaffold tagged and inspected by competent person today
10 | Scaffolds | Scaffold fully planked with guardrails at 6 ft
11 | Ladders | Ladders in good condition, extended 3 ft above landing
12 | Ladders | Ladder use above 6 ft approved by superintendent
13 | Excavation | Excavation over 5 ft has protective system |  |  |  | Yes
14 | Excavation | Competent person inspection recorded today
15 | Excavation | Spoils 2 ft back from edge; safe access within 25 ft
16 | Excavation | 811 ticket current
17 | Electrical | GFCI on all temporary power
18 | Electrical | Cords undamaged, off walkways
19 | Electrical | No energized work without approved EEWP |  |  |  | Y
20 | Electrical | LOTO in place and verified by try-out |  |  |  | Y
21 | Cranes | Critical lift plan approved and posted |  |  |  | Y
22 | Cranes | Crane inspection (daily/monthly/annual) current
23 | Cranes | Swing radius barricaded
24 | Cranes | No loads over occupied areas
25 | Hot Work | Hot work permit posted
26 | Hot Work | Fire watch in place, 60 min after |  |  |  | Y
27 | Hot Work | Fire extinguisher within 25 ft
28 | Hot Work | ILSM in place where fire systems impaired
29 | Infection Control | ICRA permit posted at entrance
30 | Infection Control | Barriers intact floor to deck, sealed |  |  |  | Y
31 | Infection Control | Negative pressure verified (manometer reading logged) |  |  |  | Y
32 | Infection Control | Sticky mats / anteroom clean
33 | Health | Silica controls per Table 1 in use
34 | Health | Noise at patient areas within limits
35 | PPE | Hard hats, glasses, hi-vis, gloves, boots worn
36 | Housekeeping | Walkways and exits clear
37 | Housekeeping | Ambulance route and fire lanes unobstructed
38 | Housekeeping | Debris removed in covered carts on approved route
39 | Fire | Fire extinguishers charged and inspected
40 | Fire | Flammables stored in approved cabinets